Copyright 2018 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to Cendrex ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Cendrex, 11303 26th Ave., Montreal, Quebec H1E 6N6, Canada; Phone: (800) 479-1489; Fax: (800) 279-1489; Website: www.cendrex.com; Email: info@cendrex.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 083113 - ACCESS DOORS AND FRAMES

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes access doors and frames for walls and ceilings.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

For Cendrex's "TRH" roof hatches, see www.cendrex.com/en/product/trh-00.

Section 077200 "Roof Accessories" for roof hatches.

For Cendrex's "PHS" security hatches, see www.cendrex.com/en/product-category/access-doors/security.

Section 083113.53 "Security Access Doors and Frames" for access doors and frames for security applications.

Section 083483 "Floor Doors" for doors installed in floors.

Section 233300 "Air Duct Accessories" for heating and air-conditioning duct access doors.

ALLOWANCES

Retain products and Work included in this Section that are covered by cash or quantity allowance. Do not include amounts. Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the allowance.

Access doors and frames are part of an access door and frame allowance.

ACTION SUBMITTALS

Product Data: For each type of product.

Retain option in subparagraph below if fire-rated units are included in the Work.

Include construction details[, fire ratings,] material descriptions, dimensions of individual components and profiles, and finishes.

Sustainable Design Submittals:

Retain "Product Data" Subparagraph below to require minimum recycled content for LEED 2009 MR Credit 4 - "Recycled Content."

Product Data: For recycled content, indicating postconsumer and preconsumer recycled content and cost.

"Health Product Declaration (HPD)" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Product Disclosure and Optimization - Material Ingredients, Option 1 - Material Ingredient Reporting." Verify, with manufacturer, that HPDs are available and meet requirements of the HPD Open Standard or approved USGBC program. HPDs also contribute to WELL, LBC, and Google certification requirements.

Health Product Declaration (HPD): For each product.

Shop Drawings:

Include plans, elevations, sections, details, and attachments to other work.

Detail fabrication and installation of access doors and frames for each type of substrate.

Samples: For each type of access door and frame and for each finish specified, complete assembly minimum 4 by 4 inches (100 by 100 mm) in size.

Product Schedule: For access doors and frames including types, locations, sizes, and locking provisions.[ Use same designations indicated on Drawings.]

INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

Qualification Data: For testing and inspecting agency.

Retain "Fire-Rated Door Inspector" Subparagraph below, or delete and retain second subparagraph below. Certification in second subparagraph below should be acceptable by all authorities having jurisdiction. See the Evaluations.

Fire-Rated Door Inspector: Submit documentation of compliance with NFPA 80, section 5.2.3.1.

Submit copy of DHI Fire and Egress Door Assembly Inspector (FDAI) certificate.

Coordination drawings, as an informational submittal, may be added if required for complex projects or for spaces where the layout of access doors and frames on ceilings is important to the design.

CLOSEOUT SUBMITTALS

Record Documents: For fire-rated doors, list of applicable room name and number in which access door is located.

QUALITY ASSURANCE

Fire-Rated Door Inspector Qualifications: Inspector for field quality control inspections of fire-rated door assemblies shall meet the qualifications set forth in NFPA 80, section 5.2.3.1 and the following:

Retain subparagraph below if requiring fire door inspectors to be certified under DHI's certification program. Verify, with authorities having jurisdiction, if other DHI certifications are acceptable, such as Architectural Hardware Consultant (AHC), Certified Door Consultant (CDC), and Architectural Openings Consultant (AOC).

Door and Hardware Institute Fire and Egress Door Assembly Inspector (FDAI) certification.

PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Deltek. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain this article if fire-rated units are required. Retain option if temperature-rise assemblies are required.

Fire-Rated Access Doors and Frames: Assemblies complying with NFPA 80 that are listed and labeled by a qualified testing agency, for fire-protection[ and temperature-rise limit] ratings indicated, in accordance with NFPA 252 or UL 10B for vertical fire-rated access door assemblies, and ASTM E119 or CAN/ULC S101 for horizontal fire-rated access door assemblies.

ACCESS DOORS AND FRAMES

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Flush Access Doors with Exposed Flanges, Non-Fire-Rated <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

- AHD: Non-fire-rated Flush Universal Access Door with Exposed Flange.

- DRD: Draft Stop Access Door. Although non-fire-rated, it is self-closing and self-latching and operable from both sides.

- LHD: Non-fire-rated Heavy-Duty Access Door. Ideal for openings larger than AHD can accommodate. It is also available in a double leaf.

- MDS: Non-fire-rated Medium Security Flush Universal Access Door with Exposed Flange.

- SFM: Non-fire-rated Flush Universal Surface-Mounted Access Door without framing or cutting of inner wall obstructions. Designed to sit directly on walls with fasteners at four corners.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; [AHD] [DRD] [LHD] [MDS] [SFM] Series or comparable product by one of the following:

Babcock-Davis.

Maxam Metal Products Limited.

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as gasketing, double-leaf doors, piano hinges, louvers, masonry anchors, and removable doors. Consult manufacturers for availability.

Description: Face of door flush with frame, with exposed flange and [concealed] [piano] hinge.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Retain "Powder-Coated Steel Sheet for Door" or "Stainless Steel Sheet for Door" Subparagraph below. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project.

Retain option in "Powder-Coated Steel Sheet for Door" Subparagraph below to suit Project.

Powder-Coated Steel Sheet for Door: Nominal 0.064-inch (1.63-mm), 16 gauge, cold-rolled steel <Insert thickness and material> [ with structural side-fold reinforcing], factory primed.

Cendrex's standard finish is a rust-inhibitive white powder-coat primer. Galvannealed steel coating and custom colors are available options.

Finish: Electrostatically applied, [white] <Insert color> powder-coat primer[ on galvannealed steel].

Revise "Stainless Steel Sheet for Door" Subparagraph below for other finishes; ASTM A480/A480M No. 4 is typical.

Stainless Steel Sheet for Door: Type 304, [nominal 0.062 inch (1.59 mm), 16 gauge] <Insert thickness>, ASTM A480/A480M No. 4 finish.

Frame Material: [Same material, thickness, and finish as door] <Insert material, thickness, and finish> with 1/4-inch (6-mm) mounting holes.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices.

For Cendrex's standard cam latch, screwdriver operated, use "AHD" or "SFM" series product; for standard ring/tool, key-operated slam latch, use "LHD" or "DRD" series product. For product resources, see www.cendrex.com/en/products.

Latch and Lock: [Cam latch, screwdriver operated] [Ring/tool, key-operated slam latch] [Cam latch, key-operated cylinder] [Cam latch, hex-head wrench operated] [Slam latch, hex-head wrench operated] [Cam latch, pinned-hex-head wrench operated] [Prepared for mortise cylinder] [As indicated on Drawings] [As indicated in schedule] <Insert operator>[ with interior release].

Retain first subparagraph below for key-operated cylinders for cam latches.

Keying: Two keys per lock; keyed[ alike] [ differently].

Retain first subparagraph below for prepared mortise cylinders.

Cylinder: 1-5/32-inch (29.4-mm) diameter; prepared for [cam latch] [slam latch] [deadbolt lock]. See Section 087100 "Door Hardware."

Retain first subparagraph below for hex heads.

Hex Head: 3/32-inch (4.8-mm) Allen type.

Retain first subparagraph below for cam or slam latches to suit Project.

Handle [with] [without] key.

Retain subparagraph below to suit Project.

Slide latch.

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Flush Access Doors with Concealed Flanges <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

- AHD-GYP: Non-fire-rated Flush Access Doors with Drywall Bead Flange.

- AHD-PLY: Non-fire-rated Flush Access Doors with Plaster Bead Flange.

- BTA: Cabinet/Valve Box with Hidden Flange.

- BTV: Cabinet/Valve Box with Hidden Flange and Plexiglas Window.

- CTR: Flush Universal Access Doors with Hidden Flange (Non-fire-rated aesthetic general-purpose access doors with hidden flange).

- CTR-MAG: Flush Universal Access Doors with Hidden Flange and Magnetic Closing (Non-fire-rated aesthetic general-purpose access doors with hidden flange and magnetic closing).

- DRD-GYP: Draft Stop Access Door with Drywall Bead Flange. Although Non-fire-rated, it is self-closing and self-latching and operable from both sides.

- DRD-PLY: Draft Stop Access Door with Plaster Bead Flange. Although Non-fire-rated, it is self-closing and self-latching and operable from both sides.

- EDG-GYP: Flush Removable Access Door with Drywall Bead Flange and Concealed Push-to-Close Latches.

- FLE: Flush Universal Access Doors with Adjustable Frame and Hidden Flanges (Non-fire-rated adjustable general-purpose access doors with hidden flange).

- LHD-GYP: Non-fire-rated Heavy-Duty Access Door with Drywall Bead Flange. Ideal for openings larger than AHD-GYP can accommodate. It is also available in a double leaf.

- LHD-PLY: Non-fire-rated Heavy-Duty Access Door with Plaster Bead Flange. Ideal for openings larger than AHD-PLY can accommodate. It is also available in a double leaf.

- RMD: Flush Universal Removable Access Doors with Hidden Flange (Non-fire-rated aesthetic general-purpose access doors with hidden flange).

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; [AHD-GYP] [AHD-PLY] [BTA] [BTV] [CTR] [CTR-MAG] [DRD-GYP] [DRD-PLY] [EDG-GYP] [FLE] [LHD-GYP] [LHD-PLY] [RMD] Non-fire-rated or comparable product by one of the following:

Babcock-Davis.

Maxam Metal Products Limited.

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as gasketing, double-leaf doors, piano hinges, louvers, masonry anchors, and removable doors. Consult manufacturers for availability.

Description: Face of door flush with frame; with concealed flange for [gypsum board] [plaster] [wall surface] installation and [concealed] [piano] [without] hinge.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Retain "Powder-Coated Steel Sheet for Door" or "Stainless Steel Sheet for Door" Subparagraph below. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project. Retain options to suit Project.

Powder-Coated Steel Sheet for Door: [Nominal 0.064 inch (1.63 mm), 16 gauge, cold-rolled steel] <Insert thickness and material> [ with structural side-fold reinforcing], factory primed.

Cendrex's standard finish is a rust-inhibitive white powder-coat primer. Galvannealled steel coating and custom colors are available options.

            - Finish: Electrostatically applied, [white] <Insert color> powder-coat primer[ on galvannealed steel].

Revise "Stainless Steel Sheet for Door" Subparagraph below for other finishes; ASTM A480/A480M No. 4 is typical.

Stainless Steel Sheet for Door: [Nominal 0.062 inch (1.59 mm), 16 gauge] <Insert thickness>, ASTM A480/A480M No. 4 finish.

Frame Material: [Same material and thickness as door] <Insert material, thickness, and finish>.

Cabinet/Box: <Insert inch (mm)> deep.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices.

Latch and Lock: [Cam latch, screwdriver operated] [Cam latch, key operated] [Cam latch, hex-head wrench operated] [Cam latch, pinned-hex-head wrench operated] [Cam latch, spanner-head wrench operated] [Latch bolt, knurled-knob operated] [Latch bolt, key operated] [Prepared for mortise cylinder] [As indicated on Drawings] [As indicated in schedule] <Insert operator>[ with interior release].

Retain first subparagraph below for key-operated cylinders for cam latches.

Keying: Two keys per lock; keyed [alike] [differently].

Retain first subparagraph below for prepared mortise cylinders.

Cylinder: 1-5/32-inch (29.4-mm) diameter; prepared for [cam latch] [slam latch] [deadbolt lock]. See Section 087100 "Door Hardware."

Retain first subparagraph below for hex heads.

Hex Head: 3/32-inch (4.8-mm) Allen type.

Retain first subparagraph below for cam or slam latches to suit Project.

Handle [with] [without] key.

Retain subparagraph below to suit Project.

Slide latch.

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Recessed Access Doors with Exposed Flanges <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Acudor Products, Inc.

Babcock-Davis.

Elmdor/Stoneman Manufacturing Company; a division of Acorn Engineering Company.

JL Industries, Inc.; a division of the Activar Construction Products Group.

Karp Associates, Inc.

Lane-Aire Manufacturing Corp.

Larsens Manufacturing Company.

Maxam Metal Products Limited.

Metropolitan Door Industries Corp.

MIFAB, Inc.

Milcor; Commercial Products Group of Hart & Cooley, Inc.

Nystrom, Inc.

Williams Bros. Corporation of America (The).

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as gasketing, double-leaf doors, piano hinges, louvers, masonry anchors, and removable doors. Consult manufacturers for availability.

Description: Door face recessed [1/2 inch (13 mm)] [5/8 inch (16 mm)] [1 inch (25 mm)] for [gypsum board] [plaster] [acoustical tile] <Insert material> infill, with exposed flange and concealed hinge.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Retain "Uncoated Steel Sheet for Door," "Metallic-Coated Steel Sheet for Door," or "Stainless Steel Sheet for Door" Subparagraph below. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project.

Uncoated Steel Sheet for Door: [Nominal 0.060 inch (1.52 mm), 16 gauge] <Insert thickness>, factory [primed] [finished].

Metallic-Coated Steel Sheet for Door: [Nominal 0.064 inch (1.63 mm), 16 gauge] <Insert thickness>, factory [primed] [finished].

Revise "Stainless Steel Sheet for Door" Subparagraph below for other finishes; ASTM A480/A480M No. 4 is typical.

Stainless Steel Sheet for Door: [Nominal 0.062 inch (1.59 mm), 16 gauge] <Insert thickness>, ASTM A480/A480M No. 4 finish.

Frame Material: [Same material and thickness as door] <Insert material, thickness, and finish>.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices.

Latch and Lock: [Cam latch, screwdriver operated] [Cam latch, key operated] [Cam latch, hex-head wrench operated] [Cam latch, pinned-hex-head wrench operated] [Cam latch, spanner-head wrench operated] [Latch bolt, knurled-knob operated] [Latch bolt, key operated] [Prepared for mortise cylinder] [As indicated on Drawings] [As indicated in schedule] <Insert operator>[ with interior release].

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Recessed Access Doors with Concealed Flanges <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

- AHA: Recess Access Door without Flange. Will accept acoustical, ceramic, drywall tiles, and other material to match installed surface.

- AHA-GYP: Recess Access Door with Concealed Drywall-Bead Flange. Will accept acoustical, ceramic, drywall tiles, and other material to match installed surface.

- AHA-PLY: Recess Access Door with Concealed Plaster-Bead Flange. Will accept acoustical, ceramic, drywall tiles, and other material to match installed surface.

- RAL: ALUMI - Recessed Aluminum Access Door with Hidden Flange.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; [AHA] [AHA-GYP] [AHA-PLY] [RAL] Non-fire-rated, General Purpose Access Doors or comparable product by one of the following:

Babcock-Davis.

Maxam Metal Products Limited.

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as gasketing, double-leaf doors, piano hinges, louvers, masonry anchors, and removable doors. Consult manufacturers for availability.

Description: Door face recessed [1/2 inch (13 mm)] [5/8 inch (16 mm)] [1 inch (25 mm)] <Insert dimension> for [gypsum board] [plaster] [acoustical tile] <Insert material> infill; with concealed flange for [gypsum board] [plaster] [no bead for acoustical tile] installation and concealed hinge.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Retain "Powder-Coated Steel Sheet for Door" or "Stainless Steel Sheet for Door" Subparagraph below. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project. Retain options to suit Project.

Powder-Coated Steel Sheet for Door: [Nominal 0.060 inch (1.52 mm), 16 gauge, cold-rolled steel] <Insert thickness and material> [ with structural side-fold reinforcing], factory primed.

Cendrex's standard finish is a rust-inhibitive white powder-coat primer. Galvannealled steel coating and custom colors are available options.

            - Finish: Electrostatically applied, [white] <Insert color> powder-coat primer[ on galvannealed steel].

Stainless Steel Sheet for Door: [Nominal 0.062 inch (1.59 mm), 16 gauge] <Insert thickness>, [ASTM A480/A480M No. 4] [ASTM A480/A480M No. 2b] finish.

Powder-Coated Aluminum Sheet for Door: [Nominal 0.064 inch (1.63 mm)] <Insert thickness>, with [mill] [manufacturer's standard baked-enamel or powder-coat] finish.

Finish: Electrostatically applied, [white] <Insert color> powder-coat primer[ on galvannealed steel].

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices.

Latch and Lock: [Cam latch, screwdriver operated] [Cam latch, key operated] [Cam latch, hex-head wrench operated] [Cam latch, pinned-hex-head wrench operated] [Cam latch, spanner-head wrench operated] [Latch bolt, knurled-knob operated] [Latch bolt, key operated] [Prepared for mortise cylinder] [As indicated on Drawings] [As indicated in schedule] <Insert operator>[ with interior release].

Latch: Standard. 1/4-inch (6-mm) Allan hex-head operated cam latch with neck allowing head to stand flush with top of in-fill material. Quantity of locks varies with size of door.

Latch: Premium, key-operated cylinder cam latch with two keys per lock, keyed alike with neck allowing heads to stand flush with top of in-fill material.

Retain "Gasketing" Subparagraph below to suit Project.

Gasketing: Neoprene gasket around perimeter of doorframe.

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Aluminum Flush Access Doors <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; PAL (Flush Universal Insulated Aluminum Access Door with Exposed Flange) or comparable product by one of the following:

Acudor Products, Inc.

MIFAB, Inc.

Williams Bros. Corporation of America (The).

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as gasketing, double-leaf doors, piano hinges, louvers, masonry anchors, and removable doors. Consult manufacturers for availability.

Description: Face of door flush with frame, with exposed flange and aluminum continuous piano hinges.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Aluminum Sheet for Door: [Nominal 0.064 inch (1.63 mm)] <Insert thickness>, with [mill] [manufacturer's standard baked-enamel or powder-coat] finish.

            - Finish: Electrostatically applied, [white] <Insert color> powder-coat primer[ on galvannealed steel].

Frame Material: [Same material, thickness, and finish as door] <Insert material, thickness, and finish>. 2-1/2-inches (64-mm) deep with 1-inch (25.4-mm) flange at perimeter and 1/4-inch (6-mm) mounting holes.

Retain first option in "Latch and Lock" Subparagraph below for Cendrex's standard offering.

Latch and Lock: [Prepared for mortise cylinder with two keys per lock, keyed alike] [Cam latch, screwdriver operated] [Mortise slam latch prepared for cylinder 1-5/32 inches (29 mm) diameter. For cylinder, see Section 087100.] [Cam latch, 4-inch (102-mm) handle operated] [Cam latch, 4-inch (102-mm) L-handle operated, interior and exterior] [Prepared for mortise slam latch cylinder] [As indicated on Drawings] [As indicated in schedule] <Insert operator>[ with interior release].

Insulation: 1-inch- (25.4-mm-) thick fiberglass.

Gasketing: Neoprene gasket around perimeter of doorframe.

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Lightweight Flush Access Doors <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; PAL (Flush Universal Insulated Aluminum Access Door with Exposed Flange) or comparable product by one of the following:

Babcock-Davis.

Maxam Metal Products Limited.

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as gasketing, double-leaf doors, piano hinges, louvers, masonry anchors, and removable doors. Consult manufacturers for availability.

Description: Face of door flush with exposed flange, with exposed piano hinge; frameless for surface installation.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Aluminum Sheet for Door: [Nominal 0.064 inch (1.63 mm)] <Insert thickness>, with [mill] [manufacturer's standard baked-enamel or powder-coat] finish.

            - Finish: Electrostatically applied, [white] <Insert color> powder-coat primer[ on galvannealed steel].

Frame Material: [Same material, thickness, and finish as door] <Insert material, thickness, and finish>. 2-1/2 inches (64 mm) deep with 1-inch (25.4-mm) flange at perimeter and 1/4-inch (6-mm) mounting holes.

Retain first option in "Latch and Lock" Subparagraph below for Cendrex's standard offering.

Latch and Lock: [Prepared for mortise cylinder with two keys per lock, keyed alike] [Cam latch, screwdriver operated] [Mortise slam latch prepared for cylinder 1-5/32 inches (29 mm) diameter. For cylinder, see Section 087100.] [Cam latch, 4-inch (102-mm) handle operated] [Cam latch, 4-inch (102-mm) L-handle operated, interior and exterior] [Prepared for mortise slam latch cylinder] [As indicated on Drawings] [As indicated in schedule] <Insert operator>[ with interior release].

Insulation: 1-inch- (25.4-mm-) thick fiberglass.

Gasketing: Neoprene gasket around perimeter of doorframe.

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Exterior Flush Access Doors <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Babcock-Davis.

JL Industries, Inc.; a division of the Activar Construction Products Group.

Karp Associates, Inc.

Larsens Manufacturing Company.

Maxam Metal Products Limited.

MIFAB, Inc.

Nystrom, Inc.

Williams Bros. Corporation of America (The).

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction.

Description: Weatherproof assembly, with face of door fit flush with frame and with exposed frame. Include extruded door gaskets and minimum 2-inch- (50-mm-) thick fiberglass insulation.

Locations: [Wall] <Insert location or substrate>.

Door Size: <Insert door size>.

Retain "Metallic-Coated Steel Sheet for Door," "Aluminum Sheet for Door," or "Stainless Steel Sheet for Door" Subparagraph below. Frame and door materials may be different; confirm materials with manufacturers. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project.

Metallic-Coated Steel Sheet for Door: [Nominal 0.064 inch (1.63 mm), 16 gauge] <Insert thickness>, factory [primed] [finished].

Aluminum Sheet for Door: [Nominal 0.045 inch (1.15 mm)] <Insert thickness>, with [mill] [manufacturer's standard baked-enamel or powder-coat] finish.

Stainless Steel Sheet for Door: [Nominal 0.062 inch (1.59 mm), 16 gauge] <Insert thickness>, [ASTM A480/A480M No. 4] [ASTM A480/A480M No. 2b] finish.

Frame Material: [Same material, thickness, and finish as door] <Insert material, thickness, and finish>.

Latch and Lock: Cam latch operated by handle, [without lock] [with keyed lock in handle] [with separate mortise lock] [with preparation for mortise lock] [as indicated on Drawings] [as indicated in schedule] <Insert operator>[; with interior release].

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Interior Flush GFRG Access Doors with Concealed Flanges <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; GFRG-PUR or comparable product by one of the following:

Babcock-Davis.

Williams Bros. Corporation of America (The).

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction, such as gasketing, and piano hinges. Consult manufacturers for availability.

Description: Face of [drop-in] [concealed-hinge] door flush with frame, with concealed flange for gypsum board installation.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Door Type [Drop in, radius corner] [Drop in, square corner] [Concealed-hinge, radius corner] [Concealed-hinge, square corner]

Door and Frame Material: Unpainted glass-fiber-reinforced gypsum, with frames reinforced for hardware and fastenings.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices.

Latch and Lock: [Cam latch, screwdriver operated] [Cam latch, key operated] [As indicated on Drawings] [As indicated in schedule] <Insert operator>.

Copy paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Exterior Flush GFRC Access Doors with Concealed Flanges <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Acudor Products, Inc.

JL Industries, Inc.; a division of the Activar Construction Products Group.

Karp Associates, Inc.

MIFAB, Inc.

Milcor; Commercial Products Group of Hart & Cooley, Inc.

Williams Bros. Corporation of America (The).

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction, such as piano hinges. Consult manufacturers for availability.

Description: Face of door flush with frame, neoprene gasketed, with concealed flange for gypsum board installation.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Door Type: [Drop in, radius corner] [Drop in, square corner] [Concealed-hinge, radius corner] [Concealed-hinge, square corner].

Door and Frame Material: Unpainted glass-fiber-reinforced cement, with frames reinforced for hardware and fastenings.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices.

Latch and Lock: [Cam latch, screwdriver operated] [Cam latch, key operated] [Cam latch, hex-head wrench operated] [Cam latch, pinned-hex-head wrench operated] [As indicated on Drawings] [As indicated in schedule] <Insert operator>.

Copy paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Plastic Flush Access Doors (Removable Plastic Access Doors) <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; RPL, Removable Plastic Access Door or comparable product by one of the following:

            - <Insert manufacturer's name>.

Assembly Description: Fabricate removable door to fit flush to frame. Fabricate frame from single piece, 3/4 inch (19 mm) wide.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert inch (mm)>.

Door and Frame Materials: 1/8-inch- (3.2-mm-) thick, high-impact ABS plastic with UV stabilizer. White finish with textured exposed surfaces.

Hardware: Snap friction latch.

FIRE-RATED ACCESS DOORS AND FRAMES

Copy first paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Fire-Rated, Flush Access Doors with Exposed Flanges <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

- PFI: Fire-rated Insulated Flush Access Door with Exposed Flange.

- PFN: Fire-rated Uninsulated Flush Access Door with Exposed Flange.

- PFU: Fire-rated Insulated Upward Opening Flush Access Door with Exposed Flange.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; [PFI Insulated] [PFN Uninsulated] [PFU Insulated Upward Opening], Fire-Rated, General Purpose Access Door or comparable product by one of the following:

Babcock-Davis.

Maxam Metal Products Limited.

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as upward-opening doors for ceilings, gasketing, double leaf doors, piano hinges, and masonry anchors. Consult manufacturers for availability. Retain first option for access doors requiring temperature-rise ratings.

Description: Door face flush with frame, [with a core of mineral-fiber insulation enclosed in sheet metal] [uninsulated]; with exposed flange, self-closing door, and concealed hinge.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Fire-Resistance Rating: Not less than [that indicated] [that of adjacent construction] [45 minutes] [1 hour] [1-1/2 hours] [2 hours] [3 hours] <Insert requirement>.

Retain "Temperature-Rise Rating" Subparagraph below if required; verify availability with manufacturer.

Temperature-Rise Rating: [450 deg F (250 deg C)] [250 deg F (139 deg C)] at the end of 30 minutes.

Retain "Uncoated Steel Sheet for Door," "Metallic-Coated Steel Sheet for Door," or "Stainless Steel Sheet for Door" Subparagraph below. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project. Uninsulated access doors require thicker steel sheet.

Uncoated Steel Sheet for Door: [Nominal 0.036 inch (0.91 mm), 20 gauge] <Insert thickness>, factory [primed] [finished].

Metallic-Coated Steel Sheet for Door: [Nominal 0.040 inch (1.02 mm), 20 gauge] <Insert thickness>, factory [primed] [finished].

Revise "Stainless Steel Sheet for Door" Subparagraph below for other finishes; ASTM A480/A480M No. 4 is typical.

Stainless Steel Sheet for Door: [Nominal 0.038 inch (0.95 mm), 20 gauge] <Insert thickness>, ASTM A480/A480M No. 4 finish.

Frame Material: [Same material, thickness, and finish as door] <Insert material, thickness, and finish>.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices. The IBC requires rated doors to be self-closing and self-latching.

Latch and Lock: Self-latching door hardware, [operated by knurled-knob] [operated by key] [prepared for mortise cylinder] [as indicated on Drawings] [as indicated in schedule] <Insert operator>[ with interior release].

Copy paragraph below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Fire-Rated, Flush Access Doors with Concealed Flanges <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

- PFI-GYP: Fire-rated Insulated Flush Access Door with Concealed Drywall Bead Flange.

- PFI-PLY: Fire-rated Insulated Flush Access Door with Concealed Plaster Bead Flange.

- PFN-GYP: Fire-rated Uninsulated Flush Access Door with Concealed Drywall Bead Flange.

- PFN-PLY: Fire-rated Uninsulated Access Door with Concealed Plaster Bead Flange.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Cendrex; [PFI-GYP Insulated] [PFI-PLY Insulated] [PFN-GYP Uninsulated] [PFN-PLY Uninsulated], Fire-Rated, General Purpose Access Door or comparable product by one of the following:

Babcock-Davis.

Maxam Metal Products Limited.

<Insert manufacturer's name>.

Revise "Description" Subparagraph below to include optional features or construction such as upward-opening doors for ceilings, gasketing, double-leaf doors, piano hinges, and masonry anchors. Consult manufacturers for availability. Retain first option for access doors requiring temperature-rise ratings.

Description: Door face flush with frame, [with a core of mineral-fiber insulation enclosed in sheet metal] [uninsulated]; with concealed flange for [gypsum board] [plaster] installation, self-closing door, and concealed hinge.

Locations: [Wall] [Ceiling] [Wall and ceiling] <Insert location or substrate>.

Door Size: <Insert door size>.

Fire-Resistance Rating: Not less than [that indicated] [that of adjacent construction] [45 minutes] [1 hour] [1-1/2 hours] [2 hours] [3 hours] <Insert requirement>.

Retain "Temperature-Rise Rating" Subparagraph below if required; verify availability with manufacturer.

Temperature-Rise Rating: [450 deg F (250 deg C)] [250 deg F (139 deg C)] at the end of 30 minutes.

Retain "Uncoated Steel Sheet for Door," "Metallic-Coated Steel Sheet for Door," or "Stainless Steel Sheet for Door" Subparagraph below. Because gauge thickness is not defined by industry standards, decimal thickness must be indicated. Thicknesses shown are examples only; revise to suit Project. Uninsulated access doors require thicker steel sheet.

Uncoated Steel Sheet for Door: [Nominal 0.036 inch (0.91 mm), 20 gauge] <Insert thickness>, factory [primed] [finished].

Metallic-Coated Steel Sheet for Door: [Nominal 0.040 inch (1.02 mm), 20 gauge] <Insert thickness>, factory [primed] [finished].

Revise "Stainless Steel Sheet for Door" Subparagraph below for other finishes; ASTM A480/A480M No. 4 is typical.

Stainless Steel Sheet for Door: [Nominal 0.038 inch (0.95 mm), 20 gauge] <Insert thickness>, ASTM A480/A480M No. 4 finish.

Frame Material: [Same material, thickness, and finish as door] <Insert material, thickness, and finish>.

Revise "Latch and Lock" Subparagraph below for other hardware offered by some manufacturers; options include commonly available choices. The IBC requires rated doors to be self-closing and self-latching.

Latch and Lock: Self-closing, self-latching door hardware, [operated by knurled-knob] [operated by key] [prepared for mortise cylinder] [as indicated on Drawings] [as indicated in schedule] <Insert operator>[, with interior release].

MATERIALS

Retain materials in this article or revise to suit Project.

Steel Plates, Shapes, and Bars: ASTM A36/A36M.

Steel Sheet: Uncoated or electrolytic zinc coated, ASTM A879/A879M, with cold-rolled steel sheet substrate complying with ASTM A1008/A1008M, Commercial Steel (CS), exposed.

Metallic-Coated Steel Sheet: ASTM A653/A653M, Commercial Steel (CS), Type B; with minimum G60 (Z180) or A60 (ZF180) metallic coating.

Retain the more expensive "Type 316" option in "Stainless Steel Sheet, Strip, Plate, and Flat Bars" Paragraph below for more corrosion resistance; verify availability with manufacturers.

Stainless Steel Plate, Sheet, and Strip: ASTM A240/A240M or ASTM A666, [Type 304] [Type 316]. Remove tool and die marks and stretch lines, or blend into finish.

Stainless Steel Flat Bars: ASTM A666, [Type 304] [Type 316]. Remove tool and die marks and stretch lines, or blend into finish.

Aluminum Extrusions: ASTM B221 (ASTM B221M), Alloy 6063.

Aluminum Sheet: ASTM B209 (ASTM B209M), alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated.

Frame Anchors: Same material as door face.

Inserts, Bolts, and Anchor Fasteners: Hot-dip galvanized steel in accordance with ASTM A153/A153M or ASTM F2329.

FABRICATION

General: Provide access door and frame assemblies manufactured as integral units ready for installation.

Metal Surfaces: For metal surfaces exposed to view in the completed Work, provide materials with smooth, flat surfaces without blemishes. Do not use materials with exposed pitting, seam marks, roller marks, rolled trade names, or roughness.

Doors and Frames: Grind exposed welds smooth and flush with adjacent surfaces. Furnish mounting holes, attachment devices and fasteners of type required to secure access doors to types of supports indicated.

Retain or revise two subparagraphs below to suit Project.

For concealed flanges with drywall bead, provide edge trim for gypsum panels securely attached to perimeter of frames.

For concealed flanges with plaster bead for full-bed plaster applications, provide zinc-coated expanded-metal lath and exposed casing bead welded to perimeter of frames.

Recessed Access Doors: Form face of panel to provide recess for application of applied finish. Reinforce panel as required to prevent buckling. Provide access sleeves for each latch operator and install in holes cut through finish.

Retain subparagraph below for recessed access doors with plaster infill.

For recessed doors with plaster infill, provide self-furring expanded-metal lath attached to door panel.

Latch and Lock Hardware:

Quantity: Furnish number of latches and locks required to hold doors tightly closed.

Keys: Furnish two keys per lock and key all locks alike.

Retain "Mortise Cylinder Preparation" Subparagraph below if lock is not provided by access door and frame manufacturer.

Mortise Cylinder Preparation: Where indicated, prepare door panel to accept cylinder specified in [Section 087100 "Door Hardware."] [Section 087111 "Door Hardware (Descriptive Specification)."]

Retain "Aluminum" Paragraph below for aluminum access doors.

Aluminum: After fabrication, apply manufacturer's standard protective coating on aluminum that will come in contact with concrete.

FINISHES

Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

Appearance of Finished Work: Noticeable variations in same piece are not acceptable. Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

Painted Finishes: Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

Factory Primed: Apply manufacturer's standard, lead- and chromate-free, universal primer immediately after surface preparation and pretreatment.

Factory Finished: Apply manufacturer's standard baked-enamel or powder-coat finish immediately after cleaning and pretreating, with minimum dry-film thickness of 1 mil (0.025 mm) for topcoat.

Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors] <Insert color>.

Stainless Steel Finishes:

Surface Preparation: Remove tool and die marks and stretch lines, or blend into finish.

ASTM A480/A480M No. 4 finish is standard for stainless steel flush access doors; confirm availability of other finishes with manufacturers.

Polished Finish: ASTM A480/A480M No. 4 finish. Grind and polish surfaces to produce uniform finish, free of cross scratches.

Run grain of directional finishes with long dimension of each piece.

When polishing is completed, passivate and rinse surfaces. Remove embedded foreign matter and leave surfaces chemically clean.

Retain "Bright, Cold-Rolled, Unpolished Finish" Subparagraph below for nondirectional finish. Below is available on exterior access doors and some other products; confirm with manufacturers.

Bright, Cold-Rolled, Unpolished Finish: ASTM A480/A480M No. 2B.

EXECUTION

EXAMINATION

Examine substrates for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

Proceed with installation only after unsatisfactory conditions have been corrected.

INSTALLATION

Comply with manufacturer's written instructions for installing access doors and frames.

FIELD QUALITY CONTROL

Retaining second option in "Inspection Agency" Paragraph below is typical. If retaining second option, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

Inspection Agency: [Owner will engage] [Engage] a qualified inspector to perform inspections and to furnish reports to Architect.

Inspections:

Fire-Rated Door Inspections: Inspect each fire-rated access door in accordance with NFPA 80, section 5.2.

Repair or remove and replace installations where inspections indicate that they do not comply with specified requirements.

Reinspect repaired or replaced installations to determine if replaced or repaired door assembly installations comply with specified requirements.

Prepare and submit separate inspection report for each fire-rated access door indicating compliance with each item listed in [NFPA 80] [and] [NFPA 101].

ADJUSTING

Adjust doors and hardware, after installation, for proper operation.

Insert Access Door and Frame Schedule here if required.

END OF SECTION 083113